## Qamber DHQ Hospital
Civil Work in Laboratory of DHQ Hospital Qamber
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
Laboratory
A | Building Portion
1 | Scraping brushing and removing old paint from walls. | Sft | 0
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 4609.8925
3 | Dismantling glazed or encaustic tiles, etc. | Sft | 609
4 | Providing and laying superb quality Ceramic tile floors of specified size,Glossy/Matt/Texture of approved Color and Shade as per approved design with adhesive bond, over 3/4" thick (1;2) cement sand plaster i/c the cost of sealer for finishing the joints i/c cutting grinding complete in all respects (i) 12"x18"/ 12"x24"/ 10"x24" / 8"x24"/ 12"x36" | Sft | 609
5 | Removing doors without chowkat | Each | 3
6 | Providing and fixing 2" wide MS/ GI Chowkat singel/double rebate made of 16 SWG MS sheet pressed/welded / supported with M.S. flat 1-1/4"x1/8" i/c 6"long M.S. Flat 1"x1/8"hold fasts (6-Nos) welded/ screwed, punching of lock hole covered with MS Box,coating with antirust paint including filling with cement sand mortar (1:8) and embedding hold fast in cement concrete (1:2:4) ,complete in all respect (5" wide). | Each | 63
7 | Preparing surface and painting with high quality Plastic Emulsion paint three coats. | Sft | 11179.79
8 | Removing cement sand plaster | Sft | 100
9 | P/L cement sand plaster (1:4) | Sft | 170
10 | Providing and fixing ornamental 1st Class yellowpine wooden architrave 3"x1" tapered to ¼" of approved design all along the door frame complete in all respect. | Sft | 105
11 | Providing and fixing Imported Mortice Lever Handle Lock with backplate (Machine, Cylinders, Lever Handles (Pair) and backplate (Pair) of approved quality, design & finish, including the cost of all accessories as per specifications, complete in all respect | No | 3
12 | Providing and fixing S.S Magnetic Door Stopper including cost of screws, rawal bolt, pvc plug etc., complete in all respect as per approved specifications | No | 21
13 | Providing and laying Stainless Steel kick plate 18 SWG (grade-304) of approved size, fixed with screws, complete in all respect as per Specifications | Sft | 130.17
14 | Painting to Doors & Windows with Two coats of premium quality paint | Sft | 2116.185
15 | Providing and fixing 9" long tower bolts | Each | 3
16 | Providing and fixing almirah shutter comprising of 3/4" thick both side Laminated / Glossy MDF with 1"x3/4"deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement complete in all respect | Sft | 571.65
17 | Providing and fixing 2.00 ft wide blood drawing table with High-density foam cushions for arm rest, made of 3/4" thick both side Laminated / MDF with partition over the table for privacy i/c polishing charges | Sft | 37.5
18 | Pucca Brickwork in (1:6) cement sand mortar. | Cft | 26.25
19 | Providing and fixing aluminium glazed partition of anodized / powder coated using high quality material, having 2 mm thick Frame size D48-A , i/c 12 mm thick Tempered glass with sand blasting and edge polishing i/c the cost of tear resistance film,rubber gasket and hardware etc. complete in all respect | Sft | 135.31
20 | Providing and fixing heavy duty 3 mm thick SS Plate, die-cast metal automatic hydraulic operated door stopper (Concealed floor hinge ) embeded in floor i/c the cost of Top pivot hinge,hardware, cutting of floor and making it good complete in all respect | Each | 2
21 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 3769.3925
Sub Total
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing lever type Sawn neck cock of superior quality with C.P. head 1/2" dia for WHB or Sink. | Each | 4
2 | Providing and fitting plastic made low down flushing cistern 13.63 litre (3 gallons) capacity, including bracket set, copper connection, etc. complete | Each | 2
3 | P/F WHB Tee-Cock of high quality | Each | 6
4 | Providing and fixing chromium plated bib cock of high quality | Each | 2
5 | Providing and fixing 12 inch deep under Counter glazed Corian sink seemless jointing with counter top, including bracket set, waste pipe and waste coupling:(24"x18"). | Each | 6
6 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted CP Tap/ mixer for WHB or Sink. i/c accessories | Each | 6
7 | Providing and fixing opentype factory made Combined Emergency Safety Shower and Eye Wash Station OSHA Approved made of Dull stainless steel eyewash bowl with two/four no nozzles flowing upward with a flow of 1.50 litre/min under pressure for eye wash with independent faucets for shower and eye wash i/c the cost of signage station as per ANSI Z 358.1-2014 i/c the cost of watersupply and drainage | Each | 1
8 | P/F and commissioning of Automatic Control Switch: Integrated pressure or flow sensors that automatically ON/OFF pressure switch, Water Pressure Booster Pump to maintain the waterflow in the lab i/c the cost of electric wiring | Each | 1
Sub Total
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of high quality switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 10
| (ii) Fan Dimmer | Each | 5
2 | Providing & fixing three pin 10/15amp plug & socket flush of high quality | Each | 50
3 | P/Laying 1-1/2“dia Pvc pipe i/c Jharries or open to cover the open wires in the False ceiling of waiting Hall. | Rft | 120
4 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable, in prelaid pipe high quality cables
| (i) 7/0.052 | Rft | 300
| (ii) 7/0.064 | Rft | 300
5 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White i/c the cost of hardware | No | 15
6 | Shifting of Outdoor Unit from Corridor to outside i/c the cost of Pre-insulated 3/4" dia copper condensate pipe i/c concealed PVC pipe of required dia. | Rft | 100
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i)1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 6

## GMMC Hospital Sukur
Civil Work in Laboratory of Ghulam Muhammad Meher Hospital Sukkur
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
Laboratory
A | Building Portion
1 | Providing and fixing aluminium glazed partition of anodized / powder coated, having 2 mm thick Frame size D48-A , i/c 12 mm thick Tempered glass with sand blasting and edge polishing i/c the cost of tear resistance film,rubber gasket,handles and hardware etc. complete in all respect | Sft | 21
2 | Providing and fixing heavy duty 3 mm thick SS Plate, die-cast metal automatic hydraulic operated door stopper (Concealed floor hinge ) embeded in floor i/c the cost of Top pivot hinge,hardware, cutting of floor and making it good complete in all respect | Each | 1
3 | Providing and laying 3/4" thick full width Prepolished Marble slab or similar for Window Cills , having Uniform texture (Spotless) with adhesive bond over 3/4" thick (1:2) cement sand mortor i/c the cost of matching sealer complete and bevelling on both edges complete in all respects | Sft | 12
4 | Providing and fixing 2.00 ft wide blood drawing table with High-density foam cushions for arm rest, made of 3/4" thick both side Laminated / MDF with partition over the table for privacy i/c polishing charges | Sft | 12
5 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 1458.015
B | PUBLIC HEALTH PORTION
1 | P/F Stainless steel floor drain 6"x6" | Each | 1
2 | Providing,Laying uPVC pipes of Class'D'fixing in trenchi/ccutting, fitting and jointing with solvent(3" dia). | Rft | 25
3 | P/Laying PPRC pipe (25 mm dia) i/c specials | Rft | 15
4 | P/F WHB Tee-Cock | Each | 2
5 | Providing and fixing chromium plated bib | Each | 2
6 | Providing and fixing 12 inch deep under Counter glazed Corian sink seemless jointing with counter top, including bracket set, waste pipe and waste coupling:(24"x18"). | Each | 4
7 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted CP Tap/ mixer for WHB or Sink. i/c accessories | Each | 4
8 | Providing and fixing opentype factory made Combined Emergency Safety Shower and Eye Wash Station OSHA Approved made of Dull stainless steel eyewash bowl with two/four no nozzles flowing upward with a flow of 1.50 litre/min under pressure for eye wash with independent faucets for shower and eye wash i/c the cost of signage station as per ANSI Z 358.1-2014 i/c the cost of watersupply and drainage | Each | 1
9 | P/F and commissioning of Automatic Control Switch: Integrated pressure or flow sensors that automatically ON/OFF pressure switch, Water Pressure Booster Pump to maintain the waterflow in the lab i/c the cost of electric wiring | Each | 1
Sub Total
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 1
2 | Providing & fixing three pin 10/15amp plug & socket flush | Each | 10
3 | P/Laying 1-1/2“dia Pvc pipe i/c Jharries or open to cover the open wires in the False ceiling of waiting Hall. | Rft | 120
4 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable of superior quality, in prelaid pipe
| (i) 7/0.052 | Rft | 100
| (ii) 7/0.064 | Rft | 100
5 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White | No | 5
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 2 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 6

## CVDL Larkana
Civil Work in Sub Centre Laboratory Central Veterinary Diagnostic Laboratory (CVDL) Larkana Sindh
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
A | Laboratory
1 | Scraping brushing and removing old paint from walls. | Sft | 1474.7334
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 341.925
3 | Providing and fixing G.I. wire gauze 22 SWG, 12x12 meshes per square inch, fixed to wooden doors and windows with wooden strips etc., complete in all respects. | Sft | 48
4 | Preparing surface and painting with Plastic Emulsion /Matt Enamel paint three coats of high quality paint | Sft | 1132.8084
5 | Removing cement sand plaster | Sft | 50
6 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 50
7 | P/F 1½" (40mm) thick solid panelled or panelled and glazed doors comprising of solid yellowpine wood styles and rails of specfied width and panels of 1" thick yellowpine wood with with grooves ,on both sides with tapered edges i/c the cost of tower bolt ,handles complete in all respect (Excluding the cost of chowkat frame,sliding bolt and lock) (i) Yellowpine wood. | Sft | 24.5
8 | Providing and fixing ornamental 1st Class yellowpine wooden architrave 3"x1" tapered to ¼" of approved design all along the door frame complete in all respect. | Sft | 49
9 | Providing and laying Stainless Steel kick plate 18 SWG (grade-304) of approved size, fixed with screws, complete in all respect as per Specifications | Sft | 5.25
10 | Painting to Doors & Windows with Three coats of high quality paint to change the shade to white color | Sft | 194
11 | Providing and fixing almirah shutter comprising of 3/4" thick both side Laminated / Glossy MDF sheet or with 1"x3/4"deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement complete in all respect | Sft | 203
12 | RCC shelf for fixing of Hand hygein steel Sink i/c steel reinforcement. | Cft | 4
13 | P/L 3/4" thick pre polished Marble slab with Bond i/c bevellling charges and cutting of hole for Sink | Sft | 36
14 | Providing and applying weather shield paint of approved quality on external surface of building including preparation of surface/ scraping etc, application of primer complete in all respect:(Two Coats). | Sft | 2408
15 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 215.325
16 | Providing and fixing wooden Cabinets comprising of 3/4" thick both side Laminated / Glossy MDF (Karachi) sheet boxes with 1"x3/4" deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement, 2" dia CP adjustable legs and leaving the space for sitting personnale complete in all respect | Sft | 88.23
17 | P/F 1/2" thick Imported Premium & Textured Colors: Corian on working Counters with Silicon adhesive and acrylic solid surface with curved edges, seamless look/jointing | Sft | 73.525
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted Tap/ mixer for WHB or Sink. i/c accessories | Each | 2
2 | Providing and fixing deep under Counter glazed earthen ware sink, including bracket set, waste pipe and waste coupling:(24"x18"). | Each | 2
3 | P/F WHB Tee-Cock | Each | 2
4 | Providing and fixing chromium plated bib cock | Each | 2
5 | Providing and fixing PPRC pipe 25 mm dia | Rft | 50
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 5
| (ii) Fan Dimmer | Each | 5
2 | Providing & fixing three pin 10/15amp plug & socket flush. | Each | 10
3 | P/Laying 3/4“dia Pvc pipe i/c Jharries or open to cover the open wires in the facility. | Rft | 300
4 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable, in prelaid pipe.
| (i) 3/0.029 | Rft | 600
| (ii) 7/0.029 | Rft | 300
5 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White | No | 5
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 1

## CVDL Khairpur
Civil Work in Sub Centre Central Veterinary Diagnostic Laboratory (CVDL) Khairpur Sindh
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
A | Laboratory
1 | Scraping brushing and removing old paint from walls. | Sft | 1270.8756
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 0
3 | Providing and fixing G.I. wire gauze 22 SWG, 12x12 meshes per square inch, fixed to wooden doors and windows with wooden strips etc., complete in all respects. | Sft | 90
4 | Preparing surface and painting with Plastic Emulsion /Matt Enamel paint three coats of high quality paint | Sft | 1270.8756
5 | Removing cement sand plaster | Sft | 50
6 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 50
7 | Painting to Doors & Windows with Three coats of high quality paint to change the shade to white color. | Sft | 278
8 | RCC shelf for fixing of Hand hygein steel Sink i/c steel reinforcement. | Cft | 6.33
9 | P/L 3/4" thick pre polished Marble slab with Bond i/c bevellling charges and cutting of hole for Sink | Sft | 28.485
10 | Providing and fixing almirah shutter comprising of 3/4" thick both side Laminated / Glossy MDF sheet with 1"x3/4"deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement complete in all respect | Sft | 31.65
11 | Providing and applying weather shield paint of approved quality on external surface of building including preparation of surface/ scraping etc, application of primer complete in all respect:(Two Coats). | Sft | 1190
12 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 245
13 | Providing and fixing wooden Cabinets comprising of 3/4" thick both side Laminated / Glossy MDF sheet with 1"x3/4" deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement, 2" dia CP adjustable legs and leaving the space for sitting personnale complete in all respect | Sft | 88.5
14 | P/F 1/2" thick Imported Premium & Textured Colors: Corian on working Counters with Silicon adhesive and acrylic solid surface with curved edges, seamless look/jointing | Sft | 73.75
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted Tap/ mixer for WHB or Sink. i/c accessories | Each | 2
2 | Providing and fixing deep under Counter glazed earthen ware sink, including bracket set, waste pipe and waste coupling:(24"x18"). | Each | 2
3 | P/F WHB Tee-Cock | Each | 2
4 | Providing and fixing PPRC pipe 25 mm dia | Rft | 50
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 2
| (ii) Fan Dimmer | Each | 2
2 | Providing & fixing three pin 10/15amp plug & socket flush | Each | 5
3 | P/Laying 3/4“dia Pvc pipe i/c Jharries or open to cover the open wires in the facility. | Rft | 150
4 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable, in prelaid pipe.
| (i) 3/0.029 | Rft | 600
| (ii) 7/0.029 | Rft | 300
5 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White | No | 4
6 | P/F wall mounted 6" deep DB (Distribution Board) made with 16SWG Sheet(Recessded Type), Powder coated Paint, i/c the cost of Lock, Indication lights,Thimble, Copper Comb, Wiring, Netural & Earth Bar, Door Earthing, Digital Voltmeter,Digital Ammeter,Volt Selector Switch,Ammeter selector switch, Current Transformers and Controles Complete in all respect | No | 1
7 | Providing & fixing circuit breaker 6, 10 , 15, 20,30,40,50 & 63 SP (TB-5S) on prepared board as reuqired | No | 5
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 2

## CVDL Dadu
Civil Work in Sub Centre Central Veterinary Diagnostic Laboratory (CVDL) Dadu Sindh
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
A | Laboratory
1 | Scraping brushing and removing old paint from walls. | Sft | 6356.6695
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 1350.8753
3 | Providing and fixing G.I. wire gauze 22 SWG, 12x12 meshes per square inch, fixed to wooden doors and windows with wooden strips etc., complete in all respects. | Sft | 87
4 | Preparing surface and painting with Plastic Emulsion /Matt Enamel paint three coats of high quality paint | Sft | 5005.7942
5 | Removing cement sand plaster | Sft | 50
6 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 50
7 | P/F 1½" (40mm) thick solid panelled or panelled and glazed doors comprising of solid yellowpine wood styles and rails of specfied width and panels of 1" thick yellowpine wood with with grooves ,on both sides with tapered edges i/c the cost of tower bolt ,handles complete in all respect (Excluding the cost of chowkat frame,sliding bolt and lock) (i) Yellowpine wood. | Sft | 40
8 | Providing and fixing ornamental 1st Class yellowpine wooden architrave 3"x1" tapered to ¼" of approved design all along the door frame complete in all respect. | Sft | 80
9 | Providing and laying Stainless Steel kick plate 18 SWG (grade-304) of approved size, fixed with screws, complete in all respect as per Specifications | Sft | 7.5
10 | Painting to Doors & Windows with Three coats of high quality paint to change the shade to white color | Sft | 828
11 | Dismantling existing cement made working Counters i/c damaged cabinet Shutters, marble and RCC slabs. | Sft | 86
12 | Providing and fixing almirah shutter comprising of 3/4" thick both side Laminated / Glossy MDF with 1"x3/4"deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement complete in all respect | Sft | 203
13 | RCC shelf for fixing of Hand hygein steel Sink i/c steel reinforcement. | Cft | 6
14 | P/L 3/4" thick pre polished Marble slab with Bond i/c bevellling charges and cutting of hole for Sink | Sft | 60.75
15 | Providing and applying weather shield paint of approved quality on external surface of building including preparation of surface/ scraping etc, application of primer complete in all respect:(Two Coats). | Sft | 2369
16 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 219.96
17 | Providing and fixing wooden Cabinets comprising of 3/4" thick both side Laminated / Glossy MDF sheet boxes with 1"x3/4" deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement, 2" dia CP adjustable legs and leaving the space for sitting personnale complete in all respect | Sft | 119.49
18 | P/F 1/2" thick Imported Premium & Textured Colors: Corian on working Counters with Silicon adhesive and acrylic solid surface with curved edges, seamless look/jointing | Sft | 104.575
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted Tap/ mixer for WHB or Sink. i/c accessories | Each | 4
2 | Providing and fitting plastic made low down flushing cistern 13.63 litre (3 gallons) capacity, including bracket set, copper connection, etc. | Each | 3
3 | P/F WHB Tee-Cock | Each | 2
4 | Providing and fixing chromium plated bib cock | Each | 2
5 | Fixing of existing China ware sinks in shelves i/c the cost of missing accessories. | Each | 4
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 5
| (ii) Fan Dimmer | Each | 5
2 | Providing & fixing three pin 10/15amp plug & socket flush | Each | 10
3 | P/Laying 3/4“dia Pvc pipe i/c Jharries or open to cover the open wires in the facility. | Rft | 300
4 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable, in prelaid pipe.
| (i) 3/0.029 | Rft | 600
| (ii) 7/0.029 | Rft | 300
5 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White | No | 5
6 | P/F wall mounted 6" deep DB (Distribution Board) made with 16SWG Sheet(Recessded Type), Powder coated Paint, i/c the cost of Lock, Indication lights,Thimble, Copper Comb, Wiring, Netural & Earth Bar, Door Earthing, Digital Voltmeter,Digital Ammeter,Volt Selector Switch,Ammeter selector switch, Current Transformers and Controles Complete in all respect | No | 1
7 | Providing & fixing circuit breaker 6, 10 , 15, 20,30,40,50 & 63 SP (TB-5S) on prepared board as reuqired | No | 9
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 2

## CVDL Naushahro Feroze
Civil Work in Laboratory Sub Centre Central Veterinary Diagnostic Laboratory (CVDL) Naushahro Feroze Sindh
Sr No | Description | Unit of Measure | Quantity | Unit Cost | Total Cost
A | Laboratory
1 | Scraping brushing and removing old paint from walls. | Sft | 9614.8379
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 2546.8361
3 | Preparing surface and painting with Plastic Emulsion /Matt Enamel paint three coats of high quality paint | Sft | 6380.5762
4 | Removing cement sand plaster | Sft | 50
5 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 125
6 | Providing and fixing wooden Cabinets comprising of 3/4" thick both side Laminated / Glossy MDFsheet boxes with 1"x3/4" deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement, 2" dia CP adjustable legs and leaving the space for sitting personnale complete in all respect | Sft | 149.375
7 | First class yellowpine wood wrought joinery work in wire gauze doors and windows with 22 SWG galvanized wire gauze 12x12 meshes per square inch (625mm) including iron fittings complete with spring hinges and long handles. | Sft | 118.125
8 | Painting to Doors & Windows with Two coats of high quality paint | Sft | 676.375
9 | P/L 3/4" thick pre polished Marble slab with Bond i/c bevellling charges and cutting of hole for Sink. | Sft | 120
10 | Providing and applying weather shield paint of approved quality on external surface of building including preparation of surface/scraping etc, application of primer complete in all respect:(Two Coats) | Sft | 2653.02
11 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 433.125
12 | P/F 1/2" thick Imported Premium & Textured Colors: Corian on working Counters with Silicon adhesive and acrylic solid surface with curved edges, seamless look/jointing | Sft | 149.375
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted Tap/ mixer for WHB or Sink. i/c accessories | Each | 2
2 | Providing and fixing deep under Counter glazed earthen ware sink, including bracket set, waste pipe and waste coupling:(24"x18"). | Each | 2
3 | Providing and fitting plastic made low down flushing cistern 13.63 litre (3 gallons) capacity, including bracket set, copper connection, etc. | Each | 2
4 | P/F WHB Tee-Cock | Each | 2
5 | Providing and fixing chromium plated bib cock | Each | 2
6 | Providing and fixing PPRC pipe 25 mm dia | Rft | 50
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 6
| (ii) Fan Dimmer | Each | 6
2 | Providing & fixing three pin 10/15amp plug & socket flush | Each | 10
3 | P/Laying 3/4“dia Pvc pipe i/c Jharries or open to cover the open wires in the facility. | Rft | 200
4 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable, in prelaid pipe.
| (i) 3/0.029 | Rft | 100
| (ii) 7/0.029 | Rft | 100
5 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White | No | 6
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 1