## Qatar Hospital Khi
Civil Work in Laboratory of Govt Qatar Hospital Karachi
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
Laboratory
A | Building Portion
1 | Scraping brushing and removing old paint from walls. | Sft | 9070.4919
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 3894.4299
3 | P/L false ceiling comprising of 5/8" thick plaster of paris sheet of required size in approved design with one line of 6" wide niche allaround , hanging with Copper wire (16 SWG) duly enriched with POP and flaxen i/c the cost of making space for rope light/ screws/jute/making holes for lights and rawal plugs complete in all respects as approved and directed by the Incharge. (Measurement will be made as per carpet Area). | Sft | 1260.625
4 | Dismantling cement concrete reinforced, separating reinforcement from concrete, cleaning and straightening the same | Cft | 19.5
5 | Dismantling glazed or encaustic tiles, etc. | Sft | 332.25
6 | Providing and laying superb quality full body Porcelain glazed tiles flooring/Skirting of specified size in approved design,Color and Shade with adhesive/bond over 3/4"thick (1:3) cement plaster i/c the cost of sealer for finishing the joints i/c cutting grinding complete in all respect (600mmx600 mm size).Payment will be made as per actual work done. | Sft | 432.25
7 | Preparing surface and painting with Plastic Emulsion paint three coats of high quality paint | Sft | 5176.0621
8 | Removing cement sand plaster | Sft | 64
9 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 453.75
10 | Removing doors without chowkat | Each | 8
11 | Providing and fixing 2" wide MS/ GI Chowkat singel/double rebate made of 16 SWG MS sheet pressed/welded / supported with M.S. flat 1-1/4"x1/8" i/c 6"long M.S. Flat 1"x1/8"hold fasts (6-Nos) welded/ screwed, punching of lock hole covered with MS Box,coating with antirust paint including filling with cement sand mortar (1:8) and embedding hold fast in cement concrete (1:2:4) ,complete in all respect | Each | 133
12 | P/F ½" (12mm) thick Yellowpine Wood Cladding over existing chowkat and wall to make it dolly frame with headless steel nails and grooved joints i/c the cost of hard ware complete in all respect ( Surface area of chowkat will be made basis for payment). | Sft | 246
13 | Providing and fixing ornamental 1st Class yellowpine wooden architrave 3"x1" tapered to ¼" of approved design all along the door frame complete in all respect. | Sft | 658
14 | P/F 1½" (40mm) thick solid panelled or panelled and glazed doors comprising of solid wood styles and rails of specfied width and panels of 1" thick Yellowpine wood. panel with tapered edges i/c the cost of tower bolt ,handles complete in all respect (Excluding the cost of chowkat frame,sliding bolt and lock) | Sft | 232.75
15 | Providing and fixing Imported Mortice Lever Handle Lock with backplate (Machine, Cylinders, Lever Handles (Pair) and backplate (Pair) of approved quality, design & finish, including the cost of all accessories as per specifications, complete in all respect | No | 10
16 | Providing and fixing S.S Magnetic Door Stopper including cost of screws, rawal bolt, pvc plug etc., complete in all respect as per approved specifications | No | 10
17 | Providing and laying Stainless Steel kick plate 18 SWG (grade-304) of approved size, fixed with screws, complete in all respect as per Specifications | Sft | 37.5
18 | Preparing surface and Lacquar polish to reveal wooden grains by application of multiple coats of wood sealer , sand papering with different no of sandpapers and Lacquar to make glossy surface finish i/c the cost of cotton, thinner, wood sealer complete in all respects(Matt Finish) | Sft | 658
19 | Providing and fixing all types of partly fixed and partly openable glazed anodised/ powder coated aluminium doors 2.00 mm, delux of high quality material, having chowkat frame of size 40 x 100 mm (1½" x 4") and leaf frame of 60x40mm (2½"x1½") wide sections including the cost of tempered glass with aluminium triangular gola and rubber gasket to support the glass and leaf edging, using approved fittings, locks, 3" (75 mm) wide long handles etc. concealed, hydraulic floor hinge and hardware | Sft | 56
20 | Providing and fixing 2 mm thick Double glazed aluminium windows of powder coated partly fixed and party sliding using deluxe section of 100mm x 40mm x2 mm using frame (70501) at bottom(70502) at Top & Side of high quality materia having Leaf Frame size 31mm x 60mm x2 mm (70506) at Top & Bottom, 35mm x 60mm x 2 mm (70505) at center and 35mm x 60mm x2 mm(70503) at sides ,fixing 6mm thick Glass one side Tinted and one side clear double glass, and air tight using double tape, chemical strips, Silicon using approved latches, wheels for channel, stopper, brush channel angle joints and hardware etc.( excluding the cost of Fly Proofing). Complete in all respect | Sft | 56
21 | Providing and fixing Aluminum Fly screen comprising of Fiber Aluminum wire guaze (Malasian) fixed in aluminum frame of high quality material powder coated of size 1-1/2"x1/2" and 1.6 mm thick with rubber gasket i/c cost of Hardwares complete in all respect. | Sft | 28
22 | Providing and fixing M.S. grill fabricated with MS Square polished Vertical/horizontal Bars of specified size @ 4" c/c passed through punched holes in MS Patti of 1-1/4"x1/8" i/c the cost of 1-1/4"x1/8'' MS patti for Frame of windows and painting 3 coat with 22 SWG wire gauze complete in all respect(i) 3/8" Square Bars. | Sft | 202
23 | Providing and laying 3/4" thick full width Prepolished Marble slab of high quality for Window Cills , having Uniform texture (Spotless) with adhesive bond over 3/4" thick (1:2) cement sand mortor i/c the cost of matching sealer complete and bevelling on both edges complete in all respects | Sft | 62
24 | Providing and fixing almirah shutter comprising of 3/4" thick both side Laminated / Glossy MDF (Karachi) sheet with 1"x3/4"deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement complete in all respect | Sft | 297.5
25 | Providing and fixing 2.00 ft wide blood drawing table with High-density foam cushions for arm rest, made of 3/4" thick both side Laminated / MDF with partition over the table for privacy i/c polishing charges | Sft | 55
26 | Pucca Brickwork in (1:4) cement sand mortar | Cft | 83.125
27 | Providing and fixing aluminium glazed partition of anodized / powder coated using high quality material, having 2 mm thick Frame size D48-A , i/c 12 mm thick Tempered glass with sand blasting and edge polishing i/c the cost of tear resistance film,rubber gasket and hardware etc. complete in all respect | Sft | 715.37
28 | Providing and fixing heavy duty 3 mm thick SS Plate, die-cast metal automatic hydraulic operated door stopper (Concealed floor hinge ) embeded in floor i/c the cost of Top pivot hinge,hardware, cutting of floor and making it good complete in all respect | Each | 10
29 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 1268.7825
30 | P/L RCC (1:2:4) in shelf i/c soffit plaster and steel reinforcement. | Cft | 13
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing lever type Sawn neck cock of superior quality with Single C.P. head 1/2" dia for WHB or Sink. | Each | 9
2 | Providing and fitting plastic made low down flushing cistern 13.63 litre (3 gallons) capacity, including bracket set, copper connection, etc. | Each | 7
3 | P/F WHB Tee-Cock | Each | 12
4 | Providing and fixing chromium plated bib cock | Each | 7
5 | Providing and fixing 12 inch deep under Counter glazed Corian made sink seemless jointing with counter top, including bracket set, waste pipe and waste coupling:(24"x18"). | Each | 4
6 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted CP Tap/ mixer for WHB or Sink. i/c accessories | Each | 4
7 | Providing and fixing opentype factory made Combined Emergency Safety Shower and Eye Wash Station OSHA Approved made of Dull stainless steel eyewash bowl with two/four no nozzles flowing upward with a flow of 1.50 litre/min under pressure for eye wash with independent faucets for shower and eye wash i/c the cost of signage station as per ANSI Z 358.1-2014 i/c the cost of watersupply and drainage | Each | 1
8 | P/F and commissioning of Automatic Control Switch: Integrated pressure or flow sensors that automatically ON/OFF pressure switch, Water Pressure Booster Pump to maintain the waterflow in the lab i/c the cost of electric wiring | Each | 1
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 10
| (ii) Fan Dimmer | Each | 15
2 | Providing & fixing three pin 10/15amp plug & socket flush | Each | 50
3 | P/Fixing PVC boxes small for power plugs
| (i) small box | Each | 1
| (ii) large box | Each | 1
4 | P/Laying ¾ “dia Pvc pipe i/c Jharries or open to cover the open wires in the False ceiling of waiting Hall. | Rft | 120
5 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable, in prelaid pipe
| (i) 3/0.029 | Rft | 200
| (ii) 7/0.029 | Rft | 330
6 | Supply and fixing SMD Lights 8 watt and 6" diameter - Natural & White | No | 65
7 | Credit of Dismantled Material
| (i)Doors | Each | 8
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation)with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i)1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 4
| (ii) 4 Ton Inverter Ceiling Cassette AC R32 Refrigerant 1 Year Official Warranty | No. | 6

## LMCH Hydderabad
Civil Work in Laboratory of Govt LMCH Hyderabad
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
Laboratory
A | Building Portion
1 | Scraping brushing and removing old paint from walls. | Sft | 6595.9256
2 | Preparing surface and Distemperig on new surface | Sft | 1121.3528
3 | Dismantling glazed or encaustic tiles, etc. | Sft | 389.2303
4 | Providing and laying superb quality Ceramic tile Dado/floors of specified size,Glossy/Matt/Texture of approved Color and Shade as per approved design with adhesive bond, over 3/4" thick (1;2) cement sand plaster i/c the cost of sealer for finishing the joints i/c cutting grinding complete in all respects (i) 12"x18"/ 12"x24"/ 10"x24" / 8"x24"/ 12"x36" | Sft | 926.7178
5 | Providing and laying superb quality full body Porcelain glazed tiles flooring/Skirting of specified size in approved design,Color and Shade with adhesive/bond over 3/4"thick (1:3) cement plaster i/c the cost of sealer for finishing the joints i/c cutting grinding complete in all respect (600mmx600 mm size).Payment will be made as per actual work done. | Sft | 146.3853
6 | Preparing surface and painting with Matt Enamal paint three coats of high quality paint | Sft | 6595.9256
7 | Removing cement sand plaster | Sft | 200
8 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 240
9 | Removing doors without chowkat | Each | 3
10 | Providing and fixing 2" wide MS/ GI Chowkat singel/double rebate made of 16 SWG MS sheet pressed/welded / supported with M.S. flat 1-1/4"x1/8" i/c 6"long M.S. Flat 1"x1/8"hold fasts (6-Nos) welded/ screwed, punching of lock hole covered with MS Box,coating with antirust paint including filling with cement sand mortar (1:8) and embedding hold fast in cement concrete (1:2:4) ,complete in all respect | Each | 39
11 | Providing and fixing ornamental 1st Class yellowpine wooden architrave 3"x1" tapered to ¼" of approved design all along the door frame complete in all respect. | Sft | 390.5
12 | P/F 1½" (40mm) thick solid panelled or panelled and glazed doors comprising of solid wood styles and rails of specfied width and panels of 1" thick Yellowpine wood. panel with tapered edges i/c the cost of tower bolt ,handles complete in all respect (Excluding the cost of chowkat frame,sliding bolt and lock) | Sft | 39
13 | Providing and fixing Imported Mortice Lever Handle Lock with backplate (Machine, Cylinders, Lever Handles (Pair) and backplate (Pair) of approved quality, design & finish, including the cost of all accessories as per specifications, complete in all respect | No | 1
14 | Providing and fixing S.S Magnetic Door Stopper including cost of screws, rawal bolt, pvc plug etc., complete in all respect as per approved specifications | No | 2
15 | Providing and laying Stainless Steel kick plate 18 SWG (grade-304) of approved size, fixed with screws, complete in all respect as per Specifications | Sft | 9
16 | Painting Doors and Windows any type three coat of high quality paint | Sft | 371
17 | Providing and fixing almirah comprising of 3/4" thick both side of 3/4" Laminated / Glossy MDF with 1"x3/4"deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement complete in all respect | Sft | 48
18 | Providing and fixing Aluminum Fly screen comprising of Fiber Aluminum wire guaze fixed in aluminum frame powder coated of size 1-1/2"x1/2" and 1.6 mm thick with rubber gasket i/c cost of Hardwares complete in all respect. | Sft | 77
19 | P/L Concrete (1:2:4) for Store /Kit shelf i/c steel | Cft | 83.1275
20 | Dismantling existing cement made working Counters i/c damaged cabinet Shutters, marble and RCC slabs. | Sft | 303.95
20 | Providing and fixing wooden Cabinets comprising of 3/4" thick both side Laminated / Glossy MDF boxes with 1"x3/4" deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement, 2" dia CP adjustable legs and leaving the space for sitting personnale complete in all respect | Sft | 303.95
21 | Providing and fixing 2.00 ft wide blood drawing table with High-density foam cushions for arm rest, made of 3/4" thick both side Laminated / MDF with partition over the table for privacy i/c polishing charges | Sft | 37.5
22 | P/F 3/4" thick Imported Premium & Textured Colors: Corian on working Counters with Silicon adhesive and acrylic solid surface with curved edges, seamless look/jointing | Sft | 354.595
23 | P/L 1/2" thick pre polished badal Marble dado laid in Style bond i/c finishing and polishing at site and making the surface good | Sft | 107.75
24 | Pucca Brickwork in (1:6) cement sand mortar | Cft | 76.875
25 | Dismantling Brickwork | Cft | 108.375
26 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 1161.5486
27 | Providing and fixing all types of partly fixed and partly openable glazed anodised/ powder coated aluminium doors 1.6 mm, using delux material, having chowkat 2 mm used. frame of size 40 x 100 mm (1½" x 4") and leaf frame of 60x40mm (2½"x1½") wide sections including the cost of 8 mm thick tempered glass with aluminium triangular gola and rubber gasket to support the glass and leaf edging, using approved standard dull aluminimum shade. fittings, locks, 3" (75 mm) wide long handles etc., and hardware any required | Sft | 45.5
28 | Providing and fixing automatic hydraulic operated floor mounted door closer imported heavy duty complete in all respect | Each | 9
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing lever type Sawn neck cock of superior quality with Single C.P. head 1/2" dia for WHB or Sink. | Each | 4
2 | Providing and fitting plastic made low down flushing cistern 13.63 litre (3 gallons) capacity, including bracket set, copper connection, etc. | Each | 5
3 | P/F WHB Tee-Cock. | Each | 11
4 | Providing and fixing chromium plated bib cock | Each | 5
5 | Providing and fitting glazed earthen ware water closet, squatter type (Orisa pattern), combined with foot rest. | Each | 5
6 | Providing and fixing PPRC pipe 25 mm dia | Rft | 50
7 | Providing and fixing 12 inch deep under Counter glazed Corian made sink seemless jointing with counter top, including bracket set, waste pipe and waste coupling:(24"x18"). | Each | 4
8 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted CP Tap/ mixer for WHB or Sink. i/c accessories | Each | 4
9 | Providing and fixing opentype factory made Combined Emergency Safety Shower and Eye Wash Station OSHA Approved made of Dull stainless steel eyewash bowl with two/four no nozzles flowing upward with a flow of 1.50 litre/min under pressure for eye wash with independent faucets for shower and eye wash i/c the cost of signage station as per ANSI Z 358.1-2014 i/c the cost of watersupply and drainage | Each | 1
10 | P/F and commissioning of Automatic Control Switch: Integrated pressure or flow sensors that automatically ON/OFF pressure switch, Water Pressure Booster Pump to maintain the waterflow in the lab i/c the cost of electric wiring | Each | 1
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 10
| (ii) Fan Dimmer | Each | 8
2 | Providing & fixing three pin 10/15amp plug & socket flush | Each | 15
3 | P/Fixing PVC boxes small for power plugs
| (i) small box | Each | 1
| (ii) large box | Each | 1
4 | P/Laying ¾ “dia Pvc pipe i/c Jharries or open to cover the open wires | Rft | 120
5 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable, in prelaid pipe.
| (i) 3/0.029 | Rft | 200
| (ii) 7/0.029 | Rft | 130
6 | Supply and fixing SMD Lights 8 watt and 6" diameter - Natural & White | No | 25
7 | P/F exhaust fan 18" dia | No | 3
8 | Shifting of Cables from old Server Room to New Server Room. |  | LS
9 | Credit of Dismantled Material
| (i)Doors | Each | 3
Sub Total
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 2 Ton Inverter Ceiling Cassette AC R32 Refrigerant 1 Year Official Warranty | No. | 7

## AHC Landhi Malir
Civil Work in Animal Husbandary Centre Landhi, Malir Karachi Sindh
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
A | Laboratory
1 | Scraping brushing and removing old paint from walls. | Sft | 3082.19
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 0
3 | Providing and fixing G.I. wire gauze 22 SWG, 12x12 meshes per square inch, fixed to windows with 1-1/2"x1-1/2" angle iron frame etc., complete in all respects. | Sft | 80
4 | Preparing surface and painting with Plastic Emulsion /Matt Enamel paint three coats of high quality paint | Sft | 3334.19
5 | Removing cement sand plaster | Sft | 50
6 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 50
7 | Providing & Fixing corrugated galvanized iron sheets with G.I. bolts, nuts, limpet and bitumen washers, wind ties, complete in all respects without valleys and ridges:-(20BWG) | Sft | 373.4714
8 | Providing and fixing false ceiling comprises of Gypsum board laminated sheet of size 2'x2'/2'x3'/ 3'x3'of specified design and thickness i/c cost of fixtures i.e galvanized angle 1" x 1" at wall sides, galvanized tee 1¼" x1"and 1 ½” x 1” both at 4’ c/c of high quality material,hanging with G.I/Copper wire 16 SWG, G.I hook, Rawal Plug etc:complete in all respects | Sft | 373.4714
9 | Providing and fixing wooden Cabinets comprising of 3/4" thick both side Laminated / Glossy MDF sheet boxes with 1"x3/4" deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement, 2" dia CP adjustable legs and leaving the space for sitting personnale complete in all respect | Sft | 130
10 | P/F 1/2" thick Imported Premium & Textured Colors: Corian on working Counters with Silicon adhesive and acrylic solid surface with curved edges, seamless look/jointing | Sft | 24
11 | Providing and applying weather shield paint of approved quality on external surface of building including preparation of surface/scraping etc, application of primer complete in all respect:(Two Coats) | Sft | 1924.5
12 | Providing and laying superb quality Ceramic tile of specified size, Glossy/Matt/Texture of approved Color and Shade as per approved design with adhesive bond, over 3/4" thick (1;2) cement sand plaster i/c the cost of sealer for finishing the joints i/c cutting grinding complete in all respects (i) 12"x18"/ 12"x24"/ 10"x24" / 8"x24"/ 12"x36" | Sft | 154
13 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 416
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing lever type Sawn neck cock of superior quality with C.P. head 1/2" dia for WHB or Sink. | Each | 2
2 | Providing and fitting plastic made low down flushing cistern 13.63 litre (3 gallons) capacity, including bracket set, copper connection, etc. | Each | 2
3 | P/F WHB Tee-Cock | Each | 2
4 | Providing and fixing chromium plated bib cock | Each | 2
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer complete in all respect
| (i) One way gang switch,six holes. | Each | 5
| (ii) Fan Dimmer | Each | 5
2 | Providing & fixing three pin 10/15amp plug & socket flush | Each | 10
3 | P/Laying 3/4“dia Pvc pipe i/c Jharries or open to cover the open wires in the facility. | Rft | 100
4 | Supply and erection of single core PVC insulated, copper conductor, Cable 600/1000 volts grade cable, in prelaid pipe.
| (i) 3/0.029 | Rft | 300
| (ii) 7/0.029 | Rft | 200
5 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White | No | 5
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 2

## CVDL Korangi
Civil Work in Sub Centre Central Veterinary Diagnostic Laboratory (CVDL) Korangi Karachi Sindh
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
A | Laboratory
1 | Scraping brushing and removing old paint from walls. | Sft | 5144.7853
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 1339.6853
3 | Providing and fixing G.I. wire gauze 22 SWG, 12x12 meshes per square inch, fixed to wooden doors and windows with wooden strips etc., complete in all respects. | Sft | -137.5
4 | Preparing surface and painting with Plastic Emulsion /Matt Enamel paint three coats of high quality paint | Sft | 3805.1
5 | Removing cement sand plaster | Sft | 50
6 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 50
7 | Painting to Doors & Windows Two coats with high quality paint | Sft | 353.5
8 | Providing and fixing wooden Cabinets comprising of 3/4" thick both side Laminated / Glossy MDF sheet boxes with 1"x3/4" deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement, 2" dia CP adjustable legs and leaving the space for sitting personnale complete in all respect | Sft | 278.62
9 | P/F 1/2" thick Imported Premium & Textured Colors: Corian on working Counters with Silicon adhesive and acrylic solid surface with curved edges, seamless look/jointing | Sft | 193.3675
10 | Providing and applying weather shield paint of approved quality on external surface of building including preparation of surface/scraping etc, application of primer complete in all respect:(Two Coats) | Sft | 2552.42
11 | Removing and Cuttting of main Entry gate to required size from bottom in order to lay the marble on podium and refixing the same. | Job | 1
12 | Dry rammed Brick ballast in foundations | Cft | 54.45
13 | Pucca Brick work in (1:6) cement sand mortar | Cft | 247.5
14 | Providing and laying tuff pavers, having 7000 PSI, crushing strength of approved manufacturer over 2" to 3" sand cushion i/c grouting with sand in joints i/c finishing to require slope. Complete in all respect. (50% Grey / 50% Coloured) | Sft | 1800
15 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 330.6825
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted Tap/ mixer for WHB or Sink. i/c accessories | Each | 3
2 | Providing and fitting plastic made low down flushing cistern 13.63 litre (3 gallons) capacity, including bracket set, copper connection, etc. | Each | 2
3 | P/F WHB Tee-Cock | Each | 5
4 | Providing and fixing chromium plated bib cock | Each | 2
5 | Dismantling and fixing of old China ware deep sink i/c missing accessories. | Each | 3
C | ELECTRIC PORTION
1 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White | No | 5
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 2

## Div. Poultry Lab Hyderabad
Civil Work in Divisional Poultry Laboratory Hyderabad Sindh
Sr No | Description | Unit | Quantity | Unit Cost | Total Cost
A | Laboratory
1 | Scraping brushing and removing old paint from walls. | Sft | 4837.485
2 | Preparing surface and Distemperig on new surface(Waiting Area Ceiling) | Sft | 1055
3 | Providing and fixing G.I. wire gauze 22 SWG, 12x12 meshes per square inch, fixed to wooden doors and windows with wooden strips etc., complete in all respects. | Sft | 128
4 | Preparing surface and painting with Plastic Emulsion /Matt Enamel paint three coats of high quality paint | Sft | 3782.485
5 | Removing cement sand plaster | Sft | 50
6 | P/L cement sand plaster (1:4) i/c removal of old damaged plaster and making the surface good. | Sft | 262
7 | Removing door with Chowkat | Each | 1
8 | Removing windows | Each | 13
9 | Providing and fitting all types of glazed aluminium windows of anodised/ powder coated partly fixed and partly sliding using high quallity material having frame size of 100 x 30 mm (4"x1-1/4") and leaf frame sections of 50 x 20 mm (2"x¾"), all of 1.6mm thickness including 5 mm thick imported tinted glass with rubber gasket using approved standard latches, hardware etc. | Sft | 128
10 | Providing and fixing M.S. grill fabricated with MS Square polished Vertical/horizontal Bars of specified size @ 4" c/c ' passed through punched holes in MS Patti of 1-1/4"x1/8" i/c the cost of 1-1/4"x1/8'' MS patti for Frame of windows and painting 3 coat complete in all respect 3/8" Squar bars. | Sft | 128
11 | Providing and fixing Aluminum Fly screen comprising of Fiber/Aluminum wire guaze (Malasian) fixed in aluminum frame of approved manufacturer / powder coated of size 1-1/2"x1/2" and 1.6mm thick with rubber gasket i/c cost of Hardwares complete in all respect | Sft | 64
12 | Painting to Doors & Windows with high quality paint Three coats to change the shade to white color | Sft | 448
13 | Dismantle Lab counters | Sft | 140
14 | Providing and fixing wooden Cabinets comprising of 3/4" thick both side Laminated / Glossy MDF boxes with 1"x3/4" deodar wood golla all around the leaf fixed on (3"x1") Kail wood frame i/c the cost of 1/2" full brass hinges, C.P.handles, catchers, screws, and rawal plugs, polishing/ paint ing 3 coat to gola & frame i/c the cost of locking arrangement, 2" dia CP adjustable legs and leaving the space for sitting personnale complete in all respect | Sft | 235
15 | Providing and applying weather shield paint of approved quality on external surface of building including preparation of surface/ scraping etc, application of primer complete in all respect:(Two Coats). | Sft | 2921
16 | Remove Glazed Partition i/c glazed doors | Sft | 140
17 | Remove Bathroom fittings | Job | 1
18 | P/L RCC (1:2:4) in Shelf i/c steel reinforcement bars | Cft | 10.8125
19 | P/F 1/2" thick Imported Premium & Textured Colors: Corian on working Counters with Silicon adhesive and acrylic solid surface with curved edges, seamless look/jointing | Sft | 142.5
20 | Dismantling Brickwork | Cft | 46.5
21 | Pucca Brick work in (1:4) cement sand mortar | Cft | 65
22 | Providing and fixing 2" wide MS/ GI Chowkat singel/double rebate made of 16 SWG MS sheet pressed/welded / supported with M.S. flat 1-1/4"x1/8" i/c 6"long M.S. Flat 1"x1/8"hold fasts (6-Nos) welded/ screwed, punching of lock hole covered with MS Box,coating with antirust paint including filling with cement sand mortar (1:8) and embedding hold fast in cement concrete (1:2:4) ,complete in all respect (5-1/2" Wide) | Sft | 66.5
23 | P/F 1½" (40mm) thick semi solid panelled or panelled and glazed doors comprising of solid wood styles and rails of specfied width and panels of 2.5 mm thick veneer ply matching with wood used with grooves ,pasted on both sides of 1" thick Lasani wood panel with tapered edges i/c the cost of tower bolt ,handles complete in all respect (Excluding the cost of chowkat frame,sliding bolt and lock) (i) Yellowpine wood. | Sft | 61.875
24 | Providing and laying 3/4" thick full width Prepolished Marble slab for Window Cills , having Uniform texture (Spotless) with adhesive bond over 3/4" thick (1:2) cement sand mortor i/c the cost of matching sealer complete and bevelling on both edges complete in all respects | Sft | 32
25 | Providing and laying seamless self-leveling low VOC Epoxy Flooring of 4 mm thickness conforming with ASTM C-881 with application of levelling primer, epoxy primer, steel putty (for repair), scratch coat, complete in all respect as per approved specifications i/c grinding/roughening of floor | Sft | 822
B | PUBLIC HEALTH PORTION
1 | Supplying & fixing lever type Sawn neck cock of superior quality with C.P. head 1/2" dia for WHB or Sink. | Each | 4
2 | Providing and fitting plastic made low down flushing cistern 13.63 litre (3 gallons) capacity, including bracket set, copper connection, etc. | Each | 3
4 | Providing and fixing chromium plated bib cock | Each | 3
5 | Providing and fixing deep under Counter glazed earthen ware sink, including bracket set, waste pipe and waste coupling:(24"x18"). | Each | 3
6 | Supplying & fixing hands-free or elbow-operated control long lever wall/table mounted Tap/ mixer for WHB or Sink. i/c accessories | Each | 3
C | ELECTRIC PORTION
1 | P/F PVC double layer Switch kit Face plate with specified switch holes i/c the cost of switches / sockets / dimmer ,complete in all respect
| (i) One way gang switch,six holes. | Each | 5
| (ii) Fan Dimmer | Each | 5
2 | Providing & fixing three pin 10/15amp plug & socket flush | Each | 10
3 | P/Laying 3/4“dia Pvc pipe i/c Jharries or open to cover the open wires in the facility. | Rft | 300
4 | Supply and erection of single core PVC insulated, copper conductor, 600/1000 volts grade cable, in prelaid pipe.
| (i) 3/0.029 | Rft | 600
| (ii) 7/0.029 | Rft | 300
5 | Supply and fixing 4 Feet long and 60 watts LED Tube Light - Natural & White | No | 5
6 | P/F wall mounted 6" deep DB (Distribution Board) made with 16SWG Sheet(Recessded Type), Powder coated Paint, i/c the cost of Lock, Indication lights,Thimble, Copper Comb, Wiring, Netural & Earth Bar, Door Earthing, Digital Voltmeter,Digital Ammeter,Volt Selector Switch,Ammeter selector switch, Current Transformers and Controles Complete in all respect | No | 1
7 | Providing & fixing circuit breaker 6, 10 , 15, 20,30,40,50 & 63 SP (TB-5S) on prepared board as reuqired | No | 9
8 | P/F 12 " dia plstic body exhaust fan i/c makig hole and making the surface good. | No | 1
9 | Credit of Dismantled Material
| (i)Doors | Each | 1
| (ii)Windows | Each | 13
| (iii) Glazed Partition | Sft | 140
D | HVAC Portion Split AC
1 | Providing,fitting and commissioning of split type air conditioner inverter driven ultra heat compressor technology,energy effficient T3 series,horizontal or downflow configuration for (healthcare operation) with heat and cool options Wi-Fi connectivity, and health filters i/c making hole and cost of condensate pipe with insulation and making proper arrangement of drainage of condensate water
| (i) 1.5 Ton Inverter wall mounted AC R32 Refrigerant 1 Year Official Warranty | No. | 2